## Summary
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
THE SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE (SANBI)
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
SUMMARY OF SCHEDULES
SCHEDULE | DESCRIPTION |  | AMOUNT
SCHEDULE 1: | PRELIMINARIES AND GENERALS
SCHEDULE 2: | BUILDING WORKS
SCHEDULE 3: | ELECTRICAL INSTALLATIONS
SCHEDULE 4: | MECHANICAL INSTALLATIONS
SUB-TOTAL 1
ADD: 10% CONTINGENCIES |  | 5%
SUB-TOTAL 2
ADD 15% VAT |  | 15%
TOTAL AMOUNT CARRIED TO FORM OF OFFER AND ACCEPTANCE

## P and Gs
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
THE SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE (SANBI)
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
SCHEDULE 1 : PRELIMINARY AND GENERAL
ITEM | PAYM. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF.
| SABS | PRELIMINARY AND GENERAL
1200 A
1.1 | 8.3
1.1.1 | PSA 4.1 | Contractual Requirements | Sum | 1
1.1.2 | 8.3.2 | Establish facilities on the site
1.1.2.1 | 8.3.2.1 | i) Facilities for Engineer
| PSA 4.5 | a) Furnished offices (1x) and meeting facility | Sum | 1
|  | b) Contract Name board | Sum | 1
1.1.2.2 | 8.3.2.2 | ii) Facilities for Contractor
|  | a) Offices and storage sheds | Sum | 1
|  | b) Workshops | Sum | 1
|  | c) Ablution and latrine facilities | Sum | 1
|  | d) Tools and equipment | Sum | 1
e) Water supplies, electric power
|  | & communications | Sum | 1
|  | f) Dealing with water | Sum | 1
|  | g) Access | Sum | 1
|  | h) Plant | Sum | 1
1.1.2.3 | 8.3.4 | Removal of Engineer's and Contractor's site establishment from site on completion of works.
|  |  | Sum | 1
1.2 | 8.4 | TIME RELATED ITEMS
1.2.1 | PSA 4.2 | Contractual requirements | Sum | 12
1.3 | 8.4.2 | Operations and maintenance of facilities on site
1.3.1 | 8.4.2.1 | Facilities for Employer's Agent for duration of construction
PSA 4.6
|  | a) Employer's Agent office | Sum | 12
|  | b) Name board | Sum | 12
1.4 | 8.4.2 | Operations and maintenance of facilities on site
1.4.1 | 8.4.2.2 | Facilities for the Contractor for the duration of the Contract, except where otherwise stated
|  | a) Offices and storage sheds | Sum | 12
|  | b) Workshops | Sum | 12
|  | c) Ablution and latrine facilities | Sum | 12
TOTAL CARRIED FORWARD
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
SCHEDULE 1 : PRELIMINARY AND GENERAL
ITEM | PAYM. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF.
TOTAL BROUGHT FORWARD
|  | d) Tools and equipment | Sum | 12
|  | e) Water supplies, electric power & communications | Sum | 12
|  | f) Dealing with water | Sum | 12
|  | g) Access | Sum | 12
|  | h) Plant | Sum | 12
1.4.2 | 8.4.3 | Supervision for duration of the construction by the contractor | sum | 12
1.4.3 | 8.4.4 | Company and Head Office overhead costs for the
|  | duration of the Contract | Sum | 12
1.4.4 | 8.4.5 | Other time related obligations | Sum | 12
1.5 | 8.5 | SUMS STATED PROVISIONALLY BY THE
EMPLOYER'S AGENT
|  | a) Provisional sum for Training | Prov. Sum | 1 | 250000 | 250000
| 8.5 b) 2) | b) Overheads, charges and profit on 1.3 a) to e) | % | 250000
|  | c) Additional testing as required by the Employer's Agent | Prov. Sum | 1 | 20000 | 20000
1.6 | 8.5 | OCCUPATIONAL HEALTH AND SAFETY
|  | a) Compliance with Occupational Health and Safety Act (Act 85 of 1993) and its regulations and with the Employers Health and Safety Specification | Sum | 1 | 20000 | 20000
|  | b) Compliance with Occupational Health and Safety Act (Act 85 of 1993) and its regulations and with the Employers Health and Safety Specification | Month | 12
| 8.5 b) 2) | c) Compliance with Covid-19 OHS Specifications (including Covid 19 Safety Induction, Employee screening, Workplace Readiness Plan and Risk Assessment Safety proceedure file, Re-Usable Masks forehead Body infrared Thermometer | Sum | 12
1.7 |  | DAYWORKS
a) Labourers:
|  | (i) Unskilled | hr |  |  | Rate Only
|  | (ii) Semi-skilled | hr |  |  | Rate Only
|  | (iii) Skilled | hr |  |  | Rate Only
|  | b) Foreman | hr |  |  | Rate Only
c) Tipper trucks:
|  | (i) 3 - 5 ton | hr |  |  | Rate Only
TOTAL CARRIED FORWARD
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
SCHEDULE 1 : PRELIMINARY AND GENERAL
ITEM | PAYM. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF.
TOTAL BROUGHT FORWARD
|  | (ii) 5,1 - 10 ton | hr |  | 550 | Rate Only
|  | d) Loader (0,5m³) | hr |  | 750 | Rate Only
|  | e) LDV | hr |  | 550 | Rate Only
TOTAL SCHEDULE 1 CARRIED FORWARD TO SUMMARY

## Building Works Summary
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
THE SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE (SANBI)
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
SCHEDULE 2: SUMMARY OF BUILDING WORKS
ITEM NO | DESCRIPTION | AMOUNT
2.1 | Alterations
2.2 | Earthworks
2.3 | Concrete, Formwork and Reinforcement
2.4 | Brickwork
2.5 | Waterproofing
2.6 | Roof Coverings, etc
2.7 | Carpentry and Joinery
2.8 | Floor Coverings
2.9 | Ironmongery
2.10 | Structural Steelwork
2.11 | Metalwork
2.12 | Plastering
2.13 | Tiling
2.14 | Plumbing and Drainage (Provisional)
2.15 | Glazing
2.16 | Paintwork
2.17 | External Works
Total Carried To Final Summary

## Building Works
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
THE SOUTH AFRICAN NATIONAL BIODIVERSITY INSTITUTE (SANBI)
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
SCHEDULE 2: BUILDING WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BILL NO. 1
ALTERATIONS
PREAMBLES
For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of materials and methods to be used as Published by National Department of Public Works & Infrastructure
2.1 | REMOVAL OF EXISTING WORK
2.1.1 | Breaking up and removing reinforced concrete, including cutting off and removing reinforcement
2.1.1.1 | 100mm thick unreinforced concrete | m2 | 274 |  |  | 208 |  | 66 |  |  | 274
0
2.1.1.2 | 60mm thick paving | m2 | 60 |  |  |  |  | 60 |  |  | 60
0
2.1.1.3 | Fibre cement islands and waterfall from floors and walls | m3 | 175 |  |  |  |  | 175 |  |  | 175
0
2.1.2 | Breaking down and removing brickwork, etc. | [9 empty] | 0
0
2.1.2.1 | One brick wall | m2 | 32 |  |  | 12 |  |  | 20 |  | 32
0
2.1.3 | Taking down and removing roofs, floors, panelling, ceilings, partitions, etc. | [9 empty] | 0
0
2.1.3.1 | Steel roof sheets including from purlins | m2 | 113 |  |  |  |  | 113 |  |  | 113
0
2.1.3.2 | Shadenet from timber purlins | m2 | 152 |  |  | 17 |  | 135 |  |  | 152
0
2.1.3.3 | Timber columns, beams and supports | m | 88 |  |  | 88 |  |  |  |  | 88
0
2.1.3.4 | Timber pole handrail slates | m2 | 96 |  |  | 32 |  | 64 |  |  | 96
0
2.1.3.5 | Timber deck including pannelling and supports | m2 | 50 |  |  | 34 |  | 16 |  |  | 50
0
2.1.4 | Taking out and removing doors, windows, etc. from brickwork to be demolished | [9 empty] | 0
0
2.1.4.1 | Steel gate and frame size 1 000 x 2 032mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.4.2 | Timber double door from steel frame size 1 600 x 2 032mm high | No | 1 |  |  |  |  | 1 |  |  | 1
0
2.1.4.3 | Steel double door and frame size 1 600 x 2 100mm high | No | 1 |  |  |  |  | 1 |  |  | 1
0
2.1.4.4 | Sluice gate size 600 x 1200mm high complete with pulley including steel rope | No | 1 |  |  | 1 |  |  |  |  | 1
2.1.4.5 | Double mesh gate size 4 000 x 1 800mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.4.6 | Diamond mesh fence 1 800mm high | m | 18 |  |  | 18 |  |  |  |  | 18
0
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
2.1.5 | Hacking up/off and removing waterproofing including removing screed and preparing surfaces for new waterproofing | [9 empty] | 0
0
2.1.5.1 | Waterproofing on concrete slab including cement screed | m2 | 512 |  |  |  |  | 512 |  |  | 512
0
2.1.6 | Hacking up/off and removing screed from concrete slab | [9 empty] | 0
0
2.1.6.1 | Screed from floors | m2 | 542 |  |  |  |  | 542 |  |  | 542
0
2.1.6.2 | Screed from pools | m2 | 675 |  |  |  |  | 675 |  |  | 675
0
2.1.7 | Hacking off and removing plaster from concrete soffits | [9 empty] | 0
0
2.1.7.1 | Concrete soffits | m2 | 25 |  |  |  |  | 25 |  |  | 25
0
2.1.8 | Hacking up/off and removing floor coverings from screeded floors | [9 empty] | 0
0
2.1.8.1 | Swimming pool linning | m2 | 1160 |  |  | 485 |  | 675 |  |  | 1160
0
2.1.8.2 | Floor paint from floor screed | m2 | 485 |  |  | 485 |  |  |  |  | 485
0
2.1.8.3 | Polyurathane screed from floor screed | m2 | 675 |  |  |  |  | 675 |  |  | 675
0
2.1.9 | Taking out and removing piping, sanitary fittings, etc. including cutting off as necessary, disconnecting piping from fittings and making good floor and wall finishes | [9 empty] | 0
0
2.1.9.1 | PVC piping not exceeding 50mm diameter | m | 80 | [7 empty] | 0
2.1.9.2 | PVC piping not exceeding 50mm diameter but n.e 100mm | m | 180 | [7 empty] | 0
0
2.1.10 | Take and remove alumnium glass frame from concrete | [9 empty] | 0
0
2.1.10.1 | Frame size 1 100 x 570mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.2 | Frame size 1 100 x 640mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.3 | Frame size 1 100 x 720mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.4 | Frame size 1 100 x 770mm high | No | 1 |  |  | 1 |  |  |  |  | 1
2.1.10.5 | Frame size 1 100 x 820mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.6 | Frame size 1 100 x 870mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.7 | Frame size 1 100 x 930mm high | No | 1 |  |  | 1 |  |  |  |  | 1
2.1.10.8 | Frame size 900 x 1 140mm high | No | 1 |  |  | 1 |  |  |  |  | 1
2.1.10.9 | Frame size 900 x 1 200mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.10 | Frame size 880 x 1 200mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.11 | Frame size 860 x 1 300mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
2.1.10.12 | Frame size 860 x 1 380mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.13 | Frame size 860 x 1 400mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.14 | Frame size 870 x 1 410mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.10.15 | Frame size 940 x 1 380mm high | No | 1 | [7 empty] | 0
0
2.1.10.16 | Frame size 940 x 1 380mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.11 | Take and remove glass from fibre cement feature | [9 empty] | 0
0
2.1.11.1 | Frame size 770 x 800mm high | No | 2 |  |  | 2 |  |  |  |  | 2
2.1.12 | Take out and remove sanitary fittings, etc | [9 empty] | 0
0
2.1.12.1 | Disconnect, take out and remove single bowl sink | No | 1 |  |  |  | 1 |  |  |  | 1
0
2.1.13 | Service and repairs to existing single gates | [9 empty] | 0
0
2.1.13.1 | Service and repair to steel gates size 1 000 x 2 032mm high and including replacing won out hinges, handles, etc and leave in good order | No | 14 |  |  |  | 14 |  |  |  | 14
0
2.1.14 | Take out and relocate electrical cables | [9 empty] | 0
0
2.1.14.1 | Take out and relocate electrical cable underground including excavations | m | 30 |  |  |  | 30 |  |  |  | 30
2.1.15 | Check, inspect, service, repairs to view panel window, close leakes by applying SIKASIL or equal approved pool sealant around the frame, make good concrete cracking and leave in good working order | [9 empty] | 0
0
2.1.15.1 | View panel window size 1 000 x 2 500mm high | No | 28 |  |  | 24 | 4 |  |  |  | 28
0
2.1.16 | Hacking up/off and removing ceramic tiles including removing mortar bed or adhesive from concrete or brickwork and preparing surfaces for new screed, plaster, tile finish, etc | [9 empty] | 0
0
2.1.16.1 | Tiles and tile adhesive to floors and prepare for new | m² | 30 |  |  |  |  | 30 |  |  | 30
0
2.1.17 | Take out and remove balustrades and handrails | [9 empty] | 0
0
2.1.17.1 | Take out and remove 1 000mm high steel balustrading and handrails from concrete | m | 11 |  |  |  |  | 11 |  |  | 11
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
2.1.18 | Check, inspect, service, repairs to view panel window, close leakes by applying SIKASIL or equal approved pool sealant around the frame, make good concrete cracking and leave in good working order | [9 empty] | 0
0
2.1.18.1 | View panel window size 1 000 x 2 500mm high | No | 28 |  |  | 24 | 4 |  |  |  | 28
0
2.1.19 | Hacking up/off and removing ceramic tiles including removing mortar bed or adhesive from concrete or brickwork and preparing surfaces for new screed, plaster, tile finish, etc | [9 empty] | 0
0
2.1.19.1 | Tiles and tile adhesive to floors and prepare for new | m² | 30 |  |  |  |  | 30 |  |  | 30
0
2.1.20 | Take out and remove balustrades and handrails | [9 empty] | 0
0
2.1.20.1 | Take out and remove 1 000mm high steel balustrading and handrails from concrete | m | 11 |  |  |  |  | 11 |  |  | 11
0
2.1.21 | Take out and remove fencing including poles and concrete | [9 empty] | 0
0
2.1.21.1 | Take out and remove 1800mm high diamond mesh fence including poles | m | 100 |  |  | 100 |  |  |  |  | 100
2.1.21.2 | Take out and remove sliding gate size 3 000 x 1 800mm high | No | 1 |  |  |  |  | 1 |  |  | 1
2.1.21.3 | Take out and remove palisade double gate size 4 000 x 1 800mm high | No | 1 |  |  |  |  | 1 |  |  | 1
2.1.22 | Stainless steel screens | [9 empty] | 0
0
2.1.22.1 | Take out and store for later re-use screen size 4 500 x 1 800mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.1.22.2 | Take out and remove steel screens size 2 000 x 1 800mm high | No | 2 |  |  | 2 |  |  |  |  | 2
0
2.1.23 | Take from store and install | [9 empty] | 0
0
2.1.23.1 | Stainless steel screens | [9 empty] | 0
0
2.1.23.2 | Take from store and re-install to position screen size 4 500 x 1 800mm high | No | 1 |  |  | 1 |  |  |  |  | 1
2.2 | BUILDING UP OPENINGS | [9 empty] | 0
0
2.2.1 | Brickwork in NFP bricks in class I mortar in building up openings, including bonding new to existing and making good cement plaster on both sides (making good paintwork elsewhere) | [9 empty] | 0
0
2.2.1.1 | Opening 1 000 x 2 032mm high overall in one brick wall | No | 1 |  |  | 1 |  |  |  |  | 1
0
2.2.1.2 | Opening 1 600 x 2 032mm high overall in one brick wall | No | 1 |  |  | 1 |  |  |  |  | 1
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
2.3 | Brickwork in NFP bricks in class I mortar in building up openings, including bonding new to existing and making good cement plaster on both sides (making good paintwork elsewhere) | [9 empty] | 0
0
2.3.1 | Opening 1 500 x 1 000mm high overall in one brick wall | No | 4 |  |  |  | 4 |  |  |  | 4
0
2.4 | Prepare top surfaces of concrete to receive brickwork | [9 empty] | 0
0
2.4.1 | Cut and prepare concrete surfaces to receive half brickwork | m | 96 |  |  | 96 |  |  |  |  | 96
0
2.5 | MAKING GOOD FINISHES, ETC. | [9 empty] | 0
0
2.5.1 | Making good cement screeds | [9 empty] | 0
0
2.5.1.1 | 40mm thick on floors | m2 | 13 | [7 empty] | 0
0
2.5.2 | Prepare floors to receive concrete | [9 empty] | 0
0
2.5.2.1 | Prepare floors in pools to receive concrete | m2 | 160 |  |  |  | 160 |  |  |  | 160
0
2.6 | SEALING OF EXISTING FIBRE CEMENT FEATURE | [9 empty] | 0
0
2.6.1 | Sealing of existing fibre cement feature | [9 empty] | 0
0
2.6.1.1 | Carefully examine existing entire roof area, locate leaks with particular attention given to roof leaks where marks are visible on fibre cement feature, locate holes, replace where necessary and leave in good order | m2 | 60 |  |  | 60 |  |  |  |  | 60
0
2.7 | CLEANING OF EXISTING WORK | [9 empty] | 0
0
2.7.1 | Clean existing surfaces with a high pressure water spray to remove all debris and oil, inspect recessed joints and fill with mortar where necessary to achieve flush joints | [9 empty] | 0
0
2.7.1.1 | Concrete walls | m2 | 102 |  |  | 102 |  |  |  |  | 102
0
2.7.1.2 | Fibre cement surfaces | m2 | 60 |  |  | 60 |  |  |  |  | 60
0
2.7.1.3 | Concrete surfaces | m2 | 90 |  |  |  |  | 90 |  |  | 90
0
2.8 | Prepare and apply three coats Plascon Professional Waterproofing compound SAT520, or similar approved, by brush or long pile synthetic roller at a spreading rate of not exceeding 1,2m²/liter (approx. WFT 700um) per coat to yield a total combined DFT of 1mm | [9 empty] | 0
0
2.8.1 | To isolated wall areas, over repaired cracks | m2 | 30 | [5 empty] | 30 |  | 30
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 2 | [9 empty] | 0
0
| EARTHWORKS | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
| SITE CLEARANCE | [9 empty] | 0
0
2.2 | Site clearance | [9 empty] | 0
0
2.2.1 | Digging up and removing rubbish, debris, vegetation, hedges, shrubs, bush, etc and trees not exceeding 200mm girth | m² | 595 |  |  | 220 | 125 | 120 | 60 | 70 | 595
0
2.2.2 | Stripping average 100mm thick layer of top soil and stockpiling on site | m² | 595 |  |  | 220 | 125 | 120 | 60 | 70 | 595
0
2.3 | REMOVAL OF TREES ETC | [9 empty] | 0
0
2.3.1 | Taking out and removing, grubbing up roots and filling in holes | [9 empty] | 0
0
2.3.1.1 | Tree stump not exceeding 1m high, exceeding 200mm and not exceeding 500mm girth | No | 5 |  |  | 4 |  |  | 1 |  | 5
0
2.3.1.2 | Tree stump not exceeding 1m high, exceeding 1500mm and not exceeding 2000mm girth | No | 5 |  |  | 1 |  | 1 | 2 | 1 | 5
0
2.4 | Cutting down and removing, grubbing up roots and filling in holes | [9 empty] | 0
0
2.4.1 | Hedge not exceeding 1500mm high | m | 3 |  |  | 3 |  |  |  |  | 3
0
2.4.2 | Hedge exceeding 1500mm and not exceeding 3000mm high | m | 7 |  |  | 4 |  | 1 | 2 |  | 7
0
2.5 | EXCAVATION, FILLING, ETC 'LI' | [9 empty] | 0
0
2.5.1 | Excavation in earth or compacted filling not exceeding 2m deep | [9 empty] | 0
0
2.5.1.1 | Trenches | m3 | 103 |  |  | 17 | 55 | 31 |  |  | 103
0
2.5.1.2 | Holes | m3 | 22 |  |  |  | 1 | 2 | 19 |  | 22
0
2.5.2 | Extra over excavations in earth for exacavation in: | [9 empty] | 0
0
2.5.2.1 | Soft rock | m3 | 11 |  |  | 2 | 5 | 3 | 1 |  | 11
0
2.5.2.2 | Hard rock | m3 | 9 |  |  | 5 | 2 | 1 | 1 |  | 9
0
2.5.3 | Extra over all excavations for carting away | [9 empty] | 0
0
2.5.3.1 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 58 |  |  | 11 | 18 | 10 | 19 |  | 58
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
2.6 | Risk of collapse of excavations | [9 empty] | 0
0
2.6.1 | Sides of trench and hole excavations not exceeding 1,5mm deep | m2 | 294 |  |  | 48 | 158 | 88 |  |  | 294
0
2.7 | Keeping excavations free of water | [9 empty] | 0
0
2.7.1 | Keeping excavations free of water | Item | 1 |  |  | 1 |  |  |  |  | 1
0
2.8 | FILLING, ETC | [9 empty] | 0
0
2.8.1 | Earth filling obtained from the excavations and/or prescribed stock piles on site compacted to 100% Mod AASHTO density | [9 empty] | 0
0
2.8.1.1 | Backfilling to trenches, holes, etc | m3 | 64 |  |  | 6 | 37 | 21 |  |  | 64
0
2.8.2 | Earth filling of G6 material supplied by the contractor compacted in 150mm layers compacted to 95% Mod AASHTO to density | [9 empty] | 0
0
2.8.2.1 | Under floors, steps, pavings, etc | m3 | 79 |  |  |  | 38 | 36 | 5 |  | 79
0
2.8.3 | Coarse river sand filling supplied by the contractor | [9 empty] | 0
0
2.8.3.1 | Under floors etc | m3 | 12 |  |  |  | 6 | 6 |  |  | 12
0
2.8.4 | Compaction of surfaces | [9 empty] | 0
0
2.8.4.1 | Compaction of ground surface under floors, etc, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 90% Mod AASHTO density | m2 | 245 |  |  |  | 125 | 120 |  |  | 245
0
2.8.5 | Prescribed density tests on filling | [9 empty] | 0
0
2.8.5.1 | Modified AASHTO Density test | No | 20 |  |  |  | 10 | 10 |  |  | 20
0
2.8.6 | SOIL POISONING AND PROTECTION AGAINST TERMITES | [9 empty] | 0
0
2.8.6.1 | Soil insecticide under a 10 year guarantee by firm of specialist | [9 empty] | 0
0
2.8.6.2 | Under floors, etc including forming and poisoning shallow furrows etc and filling in furrows and ramming | m2 | 245 |  |  |  | 125 | 120 |  |  | 245
0
2.8..6.3 | To bottoms and sides of trenches, etc | m2 | 433 |  |  | 48 | 247 | 138 |  |  | 433
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 3 | [9 empty] | 0
0
| CONCRETE, FORMWORK AND REINFORCEMENT | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
3 | REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES | [9 empty] | 0
0
3.1 | 25 MPa/19mm Concrete in: | [9 empty] | 0
0
3.1.1 | Strip footings | m3 | 53 |  |  | 5 | 17 | 31 |  |  | 53
0
3.1.2 | Surface beds on waterproofing | m3 | 25 |  |  |  | 13 | 12 |  |  | 25
0
3.1.3 | Holes | m3 | 18 |  |  |  | 1 | 2 | 15 |  | 18
0
3.1.4 | Slabs | m3 | 18 |  |  | 17.9 |  |  |  |  | 17.9
3.1.5 | Ramps cast in panels | m3 | 3 |  |  |  | 2 | 1 |  |  | 3
0
3.1.6 | Steps | m3 | 8 |  |  |  | 1 | 3 | 4 |  | 8
0
3.2 | MASS CONCRETE | [9 empty] | 0
3.2.1 | Mass concrete in pools | m3 | 177 |  |  | 9.7 |  | 160 | 7 |  | 176.7
0
3.3 | UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES | [9 empty] | 0
3.3.1 | Aprons cast in panels | m3 | 5 |  |  |  | 3 | 2 |  |  | 5
0
3.3.2 | Extra over thickenning down apron size 200 x 150mm deep including all necessary excavations, backfilling, etc | m | 49 |  |  |  | 31 | 18 |  |  | 49
0
3.4 | TEST BLOCKS | [9 empty] | 0
0
3.4.1 | Making and testing 150 x 150 x 150mm concrete strength test cube and submit report to the Employers Agent (only successful tests will be paid for) | No | 20 |  |  |  | 8 | 6 | 6 |  | 20
0
3.5 | MOVEMENT JOINTS, ETC | [9 empty] | 0
0
3.5.1 | Saw cut joints | [9 empty] | 0
0
3.5.2 | 6 x 40mm Saw cuts joints in top of concrete including grey polysulphide sealing compound | m | 110 |  |  |  | 55 | 55 |  |  | 110
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
3.6 | CONCRETE SUNDRIES | [9 empty] | 0
0
3.6.1 | Finishing top surfaces of concrete smooth with a wood float 'LI' | [9 empty] | 0
0
3.6.2 | Aprons | m2 | 49 |  |  |  | 31 | 18 |  |  | 49
0
3.6.3 | Ramps | m2 | 8 |  |  |  | 4 | 4 |  |  | 8
0
3.7 | Formwork to sides of slab | [9 empty] | 0
0
3.7.1 | Sides of slab | m | 40 |  |  |  | 40 |  |  |  | 40
0
3.7.1.2 | Chamferers | [9 empty] | 0
3.7.1.3 | 40 x 40mm chamfers to sides of concrete stub columns | m | 9 |  |  |  | 9 |  |  |  | 9
0
3.8 | REINFORCEMENT | [9 empty] | 0
0
3.8.1 | Provision for Mild and High tensile steel reinforcement to structural concrete work | [9 empty] | 0
0
3.8.1.2 | In varying diameters | t | 6 | [5 empty] | 3 | 3 | 6
0
3.8.2 | Reinforcement dowels | [9 empty] | 0
0
3.8.2.1 | Y16 x 600mm long steel bars | No | 80 |  |  |  |  | 80 |  |  | 80
0
3.8.3 | Fabric reinforcement | [9 empty] | 0
0
3.8.3.1 | Mesh reinforcement with mesh reference number 193 laid in concrete surface beds, slabs, etc with 300mm wide side and end laps (measured net) | m2 | 521 |  |  | 276 | 125 | 120 |  |  | 521
0
3.8.3.2 | Mesh reinforcement with mesh reference number 395 laid in concrete footings, etc with 300mm wide side and end laps (measured net) | m2 | 349 |  |  |  | 79 | 204 | 66 |  | 349
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 4 | [9 empty] | 0
0
| BRICKWORK | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
| FOUNDATIONS (PROVISIONAL) | [9 empty] | 0
0
4.4.1 | Brickwork of NFX bricks (14 MPA nominal compressive strength) in class I mortar | [9 empty] | 0
0
4.4.1.1 | Half brick walls | m2 | 30 |  |  | 30 |  |  |  |  | 30
0
4.4.1.2 | One brick walls | m2 | 123 |  |  |  | 79 | 44 |  |  | 123
0
| SUPERSTRUCTURE | [9 empty] | 0
0
4.4.2 | Brickwork in NFP clay bricks (14 Mpa nominal compressive strength) in Class II mortar | [9 empty] | 0
0
4.4.2.2 | One brick walls | m2 | 464 |  |  | 78 | 213 | 173 |  |  | 464
0
4.4.3 | BRICK REINFORCEMENT | [9 empty] | 0
0
4.4.3.1 | 75mm Wide reinforcement built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 99 |  |  | 99 |  |  |  |  | 99
0
4.4.3.2 | 150mm Wide reinforcement built into brick walls with sufficient laps at end joints, angles and intersections (measured net) | m | 1532 |  |  | 257.4 | 702.9 | 570.9 |  |  | 1531.2
0
| BRICKWORK SUNDRIES | [9 empty] | 0
0
4.4.4. | Prestressed concrete lintels including necessary tempoary supports | [9 empty] | 0
0
4.4.4.1 | 150 x 75mm Lintels in lengths not exceeding 3m | m | 36 |  |  |  | 22 | 14 |  |  | 36
0
4.4.5 | Hoop Irons | [9 empty] | 0
0
4.4.5.1 | 38 x 1,6mm Galvanised hoop iron roof tie with one end built six courses deep into top of brickwork and other end wrapped around and nailed to trusses (Provisional) | No | 100 |  |  | 30 | 50 | 20 |  |  | 100
0
4.4.6 | MOVEMENT JOINTS | [9 empty] | 0
0
4.4.6.1 | Movement joint formed of 20mm softboard built in vertically between brickwork | m2 | 52 |  |  |  | 17 | 35 |  |  | 52
4.4.7 | Natural grey sills in single lengths bedded in class I mortar including metal fixing lugs, etc | [9 empty] | 0
0
4.4.7.1 | 15 x 150mm Wide sills set flat and slightly projecting | m | 5 |  |  |  | 5 |  |  |  | 5
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
0
4.4.8 | NUTEC-CEMENT/FIBRE-CEMENT WINDOW SILLS | [9 empty] | 0
0
4.4.8.1 | Face bricks delivered to site pointed with recessed horizontal and flush vertical joints | [9 empty] | 0
0
4.4.8.2 | Extra over brickwork in face brickwork in foundations | m² | 146 |  |  | 90 | 12 | 44 |  |  | 146
0
4.4.8.3 | Extra over brickwork for face brickwork in beamfilling | m² | 155 |  |  | 90 | 11 | 54 |  |  | 155
0
4.4.8.4 | Extra over brickwork for face brickwork to walls | m² | 224 |  |  | 90 | 65 | 69 |  |  | 224
0
4.4.8.5 | Extra over brickwork for bbrick-on-edge header course lintels one course high, pointed on face and 110mm soffit | m | 35 |  |  | 30 | 5 |  |  |  | 35
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 5 | [9 empty] | 0
0
| WATERPROOFING | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
5 | DAMPPROOFING OF WALLS AND FLOORS | [9 empty] | 0
0
5.1 | One layer approved 375 micron embossed black polyethylene damp proof course | [9 empty] | 0
0
5.1.2 | In walls | m2 | 61 |  |  | 20.18 | 21 | 20 |  |  | 61.18
0
5.2 | One layer 250 micron green polyethylene waterproof sheeting complying with SABS-0400 in widest practicable widths with all joints lapped and sealed with pressure sensitive tape all in strict accordance with the manufacturer's requirements | [9 empty] | 0
0
5.2.1 | Under surface beds | m2 | 245 |  |  |  | 125 | 120 |  |  | 245
0
5.3 | Polyurea or equal approved water proofing in pools | [9 empty] | 0
0
5.3.1 | Polyurea or equal approved waterproofing in swimming pool | m2 | 1136 |  |  | 485 |  | 585 | 66 |  | 1136
0
5.4 | JOINT SEALANTS, ETC | [9 empty] | 0
0
5.4.1 | Silicon sealing compound including non-fungul sustaining clear silicon sealant | [9 empty] | 0
0
5.4.1.1 | Between tiles and sanitary fittings (provisional) | m | 20 |  |  |  |  | 20 |  |  | 20
0
5.5 | WATERPROOFING TO ROOFS, BASEMENTS, ETC | [9 empty] | 0
5.5.1 | One layer of Derbigum SP or equal approved waterproofing membrane sealed by means of torchfusion of Coldbond 90 or equal approved adhesive with 75mm side laps and 100mm end laps laid under a ten year quarantee to receive paint protection | [9 empty] | 0
0
5.5.1.1 | On sloping roofs | m² | 439 |  |  |  |  | 439 |  |  | 439
0
5.5.1.2 | Additional membrane turn up against concrete beams 300mm high | m | 246 |  |  |  |  | 246 |  |  | 246
0
5.5.1.3 | Additional membrane at 150mm diameter outlet | No | 8 |  |  |  |  | 8 |  |  | 8
0
5.5.2 | Two coats bituminous aluminium paint | [9 empty] | 0
0
5.5.2.1 | On waterproofing to roofs | m² | 513 |  |  |  |  | 512.8 |  |  | 512.8
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 6 | [9 empty] | 0
0
| ROOF COVERINGS, ETC | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
| PROFILED METAL SHEETING AND ACCESSORIES | [9 empty] | 0
0
5.1 | 0.6mm Thick Alumnium-Zinc AZ150 G550 painted Safintra SFLOK 700 AZ150 G550 Zincalume or equal approved interlocking roof sheeting fixed to timber purlins or rails and 0.60mm approved Z275 galvanised sheet steel accessories with silicon polyster finish on one side | [9 empty] | 0
0
5.1.1 | Roof sheeting with pitch not exceeding 20 degrees including necessary cutting and waste | m2 | 764 |  |  | 30 | 160 | 529 | 10 | 35 | 764
0
5.3 | Extra over roof sheeting for semi-opaque transluscent polycarbonate sheeting | [9 empty] | 0
0
5.3.1 | Roof coverings with pitches not exceeding 25 degrees | m² | 724 |  |  |  | 160 | 529 |  | 35 | 724
5.4 | SHEET METAL FLASHINGS, LININGS, COPINGS, ETC | [9 empty] | 0
0
5.4.1 | 0,6mm sheet aluminium | [9 empty] | 0
0
5.4.1.1 | Head wall flashings 600mm girth | m | 37 |  |  |  | 24 | 13 |  |  | 37
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 7 | [9 empty] | 0
0
| CARPENTRY AND JOINERY | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
| SUPPLEMENTARY PREAMBLES | [9 empty] | 0
0
| Fixing | [9 empty] | 0
0
| Items described as "nailed" shall be deemed to be fixed with hardened steel nails or shot pins to brickwork or concrete | [9 empty] | 0
0
| Items described as "plugged" shall be deemed to include for screwing to fibre, plastic or metal plugs at not exceeding 600mm centres or shall be deemed to be fixed with hardened steel nails or shot pins to brickwork or concrete. | [9 empty] | 0
0
| Descriptions are to be deemed to include for nails, screws, plugs, adhesives, holes, sin- kings, pelleting, etc | [9 empty] | 0
0
| Structural timber | [9 empty] | 0
0
| Descriptions of structural timber are to be deemed to include for joints in the length, holes, splay cut ends and mitres | [9 empty] | 0
0
| Fascias, etc. | [9 empty] | 0
0
| Descriptions of fibre cement fascias and barge boards shall be deemed to include for mitres, end junctions, screws, bolts, wall anchors, holes, etc. | [9 empty] | 0
0
0
0
0
0
0
0
0
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
0
7 | The following in viewing timber deck | [9 empty] | 0
0
7.1 | Gumpole bearers treated with CCA | [9 empty] | 0
0
7.1.1 | 170mm diameter pole approximately 3 700mm long with one end bolted to pole beam and other cast in concrete (elsewhere) | No | 27 | [7 empty] | 0
0
7.1.2 | 170mm diameter pole approximately 4 000mm long with one end bolted to pole beam and other cast in concrete (elsewhere) | No | 4 | [7 empty] | 0
7.1.3 | 170mm diameter pole approximately 6 780mm long with one end bolted to pole beam and other cast in concrete (elsewhere) | No | 9 | [7 empty] | 0
0
7.1.4 | 150mm diameter pole long bolted to vertical poles (elsewhere), joints to be mitred and bolted | m | 187 |  |  | 29 | 158 |  |  |  | 187
0
7.1.5 | 101mm diameter pole long bolted to vertical poles (elsewhere), joints to be mitred and bolted | m | 96 |  |  | 15 | 36 |  | 45 |  | 96
0
7.1.6 | 75mm diameter pole long bolted to vertical poles (elsewhere), joints to be mitred and bolted | m | 56 |  |  | 56 |  |  |  |  | 56
0
7.2 | Composite material/Evalast or equal approved | [9 empty] | 0
7.2.1 | 50mm diameter composite material/evalast or equal approved droppers at 100mm c/c attached to 100mm diameter poles installed on gumpoles (measured elsewhere) | [9 empty] | 0
0
7.2.1.1 | 1000mm high droppers at 100mm c/c attached to 100mm diameter poles installed on gumpoles | m2 | 188 |  |  |  | 108 | 64 |  |  | 172
0
7.3 | Composite material deck/Evalast or equal approved decking support structure | [9 empty] | 0
0
7.3.1 | 35mm thick x 75mm wide composite material screwed on timber pole supports | m2 | 84 |  |  |  | 58 | 16 |  |  | 74
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
| BILL NO. 8 | [9 empty] | 0
0
| FLOOR COVERINGS | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
8 | SELF LEVELLING TEXTURED FLOORING | [9 empty] | 0
0
8.1 | Prepare and apply 6mm thick heavy duty coloured polyurathane floor screed (Mapecoat PU 20N or equal approved) | [9 empty] | 0
0
8.1.1 | On floors | m2 | 891 |  |  | 179 |  | 712 |  |  | 891
0
8.2 | SELF LEVELLING TEXTURED FLOORING | [9 empty] | 0
0
8.2.1 | Prepare and apply 3mm thick commercial grade self levelling screed and moisture barrier in accordance with the manufacture's specifications | [9 empty] | 0
0
8.2.1.1 | On floors | m2 | 891 |  |  | 179 |  | 712 |  |  | 891
0
8.3 | POLISH, SEALERS, ETC | [9 empty] | 0
0
8.3.1 | Polish, sealers, ect | [9 empty] | 0
0
8.3.1.1 | Two coats wax polish on polyurathane floor | m2 | 891 |  |  | 179 |  | 712 |  |  | 891
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
| BILL NO. 9 | [9 empty] | 0
0
| IRONMONGERY | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
9 | SIGNAGE INSTALLATION | [9 empty] | 0
0
9.1 | Provide the sum of R30,000.00 (Thirty Thousand Rands) for taking out and replacement of signage | Item | 1 | 30000 | 30000 | [5 empty] | 0
0
9.2 | Allow for profit | Item | 5% |  |  |  | 2 |  |  |  | 2
0
9.3 | Allow for attendance | Item | 5% | [7 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
| BILL NO. 10 | [9 empty] | 0
0
| STRUCTURAL STEEL WORKS | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
10 | STEEL COLUMNS AND BEAMS | [9 empty] | 0
0
10.1 | Welded columns in single lengths with flat base, cap, bearer and connection base plates (250 x 250 x 5mm), bolted to concrete | [9 empty] | 0
0
10.1.1 | 100 x 100 x 6mm SHS column. | tonnes | 3 |  |  |  | 603 | 2352 |  |  | 2955
0
10.1.2 | Bolts to columns, beams, etc | [9 empty] | 0
0
10.1.2.1 | 4 x M16 bolts | No | 52 |  |  |  |  | 36 | 16 |  | 52
0
10.1.2.2 | 4 x M20 bolts | No | 80 |  |  |  |  | 64 | 16 |  | 80
0
10.2 | STEEL BEAMS | [9 empty] | 0
0
10.2.1 | Welded rafters, tie beams, rails, struts, braces, cleats, etc and flat bearer, gusset and connection plates, bolted to steel | [9 empty] | 0
0
10.2.1.1 | 160 x 80 x 4.5mm RHS. | tonnes | 9 |  |  |  | 1078 | 6560 |  |  | 7638
0
10.2.1.2 | 180 x 70 PFC. | Tonnes | 2 |  |  |  |  | 2112 |  |  | 2112
0
10.2.1.3 | 305 x 165 x 46kg/m UB | Tonnes | 5 |  |  |  |  | 2647 |  |  | 2647
0
10.2.1.4 | 735 x 300 x 16mm gusset plate | No | 72 |  |  |  |  | 72 |  |  | 72
0
10.3 | STEEL PURLINS, GIRTS, BRACING, ETC | [9 empty] | 0
0
10.3.1 | Purlins and girts, bolted to steel | [9 empty] | 0
0
10.3.1.1 | 150 x 75 x 20 x 3/5mm CFLC purlins. | tonnes | 6 |  |  |  | 1183 | 2982 | 400 |  | 4565
0
10.3.1.2 | 50 x 50 x 5mm angle bracings. | tonnes | 1 |  |  |  | 190 | 613 | 200 |  | 1003
0
10.3.1.3 | 200 x 200 x 16L angle - 200mm long with a centre stiffenner (16mm) | No | 18 |  |  |  |  | 18 |  |  | 18
0
10.4 | Mentis grating or equal approved with rubberised matt on top | [9 empty] | 0
0
10.4.1 | 600mm wide x 2 000mm long panels fixed to steel | No | 32 |  |  |  |  | 32 |  |  | 32
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 11 | [9 empty] | 0
0
| METALWORK | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
11 | SUNDRY STEELWORK | [9 empty] | 0
0
11.1 | Balustratdes and handrails, etc | [9 empty] | 0
0
11.1.2 | Stainless steel or equal approved | [9 empty] | 0
0
11.1.2.1 | Handrails of 1000mm high from to top of stiles, formed of 75mm external diameter x 1.5mm thick continuous top rail, four number steel rails of 25.88mm external diameter x 1.6mm thick continuouss tubular intermediate rails at equal centres and intermediate posts of 50mm diameter connected with machined pin connection to top rail. Posts fixed with polster non-shrink grout into holes core drilled to a depth of 150mm through floor finishes including 76mm diameter x 2mm thick pressed steel flange cover plates, ends posts, closure pieces, ends, intersections, ramps, knees, bends, etc. | m | 38 |  |  |  |  | 38 |  |  | 38
0
11.1.2.2 | Balustrades of 1000mm high from to top of stiles, formed of 75mm external diameter x 1.5mm thick continuous top rail, four number steel rails of 25.88mm external diameter x 1.6mm thick continuouss tubular intermediate rails at equal centres and intermediate posts of 50mm diameter connected with machined pin connection to top rail. Posts fixed with polster non-shrink grout into holes core drilled to a depth of 150mm through floor finishes including 76mm diameter x 2mm thick pressed steel flange cover plates, ends posts, closure pieces, ends, intersections, ramps, knees, bends, etc. | m | 12 |  |  |  |  | 12 |  |  | 12
0
11.2 | CAT LADDER | [9 empty] | 0
0
11.2.1 | Galvanised steel or equal approved | [9 empty] | 0
0
11.2.2 | Caged 3 000mm long cat ladder fixed to concrete walls as per Architectural drawings attached to these Bills of Quantities | No | 2 |  |  |  |  | 2 |  |  | 2
0
11.3 | GALVANISED STEEL GATES, SCREENS, ETC | [9 empty] | 0
0
11.3.1 | Welded screens and gates | [9 empty] | 0
0
11.3.1.1 | Single gate 1 000 x 600mm high of 40 x 40 x 2mm hollow section frame and 25 x 25 x 2mm hollow section horizontal middle rail, filled in with 12 x 12 x 2mm hollow section vertical bars at 75mm centres and fitted with a pair of suitable hinges welded to post and with ears for padlock. | No | 1 |  |  |  |  | 1 |  |  | 1
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
11.3.1.2 | Single gate 813 x 2032mm high of 40 x 40 x 2mm hollow section frame and 25 x 25 x 2mm hollow section horizontal middle rail, filled in with 12 x 12 x 2mm hollow section vertical bars at 75mm centres and fitted with a pair of suitable hinges welded to post and with ears for padlock. | No | 2 |  |  |  | 26 | 1 |  |  | 27
0
11.3.1.3 | Double gate 1600 x 2064mm high, each leaf of 100 x 100 x 5mm hollow section frame and 50 x 50 x 5mm hollow section horizontal middle rail, filled in with 25 x 25 x 3mm hollow section vertical bars at 75mm centres and fitted with a pair of suitable hinges bolted to wall with and including 28mm expansion bolts, with ears for padlock and 150mm drop bolt welded on with keep in concrete. | No | 1 | [5 empty] | 1 |  | 1
0
11.4 | Palisade screens and gates | [9 empty] | 0
0
11.4.1 | Palisade steel screen size 2 000 x 1 000mm high fixed to brickwall | No | 10 |  |  |  | 7 | 3 |  |  | 10
0
11.4.2 | Palisade screen size 2 000 x (1 500 x 2 000mm extreme) high fixed to steel frame | No | 1 |  |  |  | 1 |  |  |  | 1
0
11.4.3 | Palisade gate size 1 000 x 3 132mm high fixed to poles including hinges and locks | No | 1 |  |  |  | 1 |  |  |  | 1
11.4.4 | Palisade gate size 1 000 x 2 032mm high fixed to poles including hinges and locks | No | 29 |  |  |  | 1 |  |  |  | 1
0
11.5 | Stainless Steel or equal approved kennels | [9 empty] | 0
0
11.5.1 | Detail as per drawing number PJN ZA 2021/2022 SANBI NZG A 1000 R00 | [9 empty] | 0
0
11.5.1.1 | Stainless steel or equal approved kennels size 1 500 x 1 500mm wide fixed to floors | No | 6 |  |  |  |  | 6 |  |  | 6
0
11.5.1.2 | Stainless steel or equal approved kennels size 2 000 x 2 000mm wide fixed to floors | No | 1 |  |  |  |  | 1 |  |  | 1
0
11.6 | ALUMINIUM CASEMENT WINDOWS
11.6.1 | Standard natural anodised casement windows with 5mm clear glass as per specification complete with subframes, ironmongery, glass, sealing, etc and fixing to brickwork. | [9 empty] | 0
0
11.6.1.1 | Window size 1 000 x 900mm high fixed to brickwork | No | 13 |  |  |  | 5 | 3 | 5 |  | 13
0
11.7 | Alumnium Lourvers | [9 empty] | 0
0
11.7.1 | Aluminium lourvre size 1 500 x 1 000mm high screwed to brickwork | No | 2 |  |  |  | 4 |  |  |  | 4
0
11.8 | PRESSED STEEL DOOR FRAMES | [9 empty] | 0
0
11.8.1 | 1,6mm Double rebated frames suitable for one brick walls | [9 empty] | 0
0
11.8.1.1 | Frame for double door size 1 800 x 2 100mm high | No | 1 | [7 empty] | 0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
11.9 | Sheerline or equal approved Grade AA natuarl anodised epoxy powder coaded flyscreens fixed to steel door frames | [9 empty] | 0
0
11.9.1 | Flyscreen size 800 x 2 032mm high in single leaf (R07) | No | 1 |  |  |  | 1 |  |  |  | 1
0
11.9.2 | Flyscreen size 1 600 x 2 032mm high in two equal leaves (R19) | No | 1 |  |  |  | 1 |  |  |  | 1
11.9.3 | Flyscreen size 1 000 x 900mm high fixed to steel frame | No | 4 |  |  |  | 1 |  |  |  | 1
0
11.10 | ALUMINIUM FRAMES | [9 empty] | 0
11.10.1 | Natural anodised aluminium frame with 32mm high penetration resistance (HPR) clear laminated safety glass framed on 30mm x 6mm polyurethane space blocks with 45 x 45 x 6mm stainless steel angle anchored into concrete with and including applying SIKASIL or equal approved sealant around the frame | [9 empty] | 0
0
11.10.2 | Frame size 1 100 x 570mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.3 | Frame size 1 100 x 640mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.4 | Frame size 1 100 x 720mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.5 | Frame size 1 100 x 770mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.6 | Frame size 1 100 x 820mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.7 | Frame size 1 100 x 870mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.8 | Frame size 1 100 x 930mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.9 | Frame size 900 x 1 140mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.10 | Frame size 900 x 1 200mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.11 | Frame size 880 x 1 200mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.12 | Frame size 860 x 1 300mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.13 | Frame size 860 x 1 380mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.14 | Frame size 860 x 1 400mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.15 | Frame size 870 x 1 410mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.16 | Frame size 940 x 1 380mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.10.17 | Frame size 940 x 1 380mm high | No | 1 |  |  | 1 |  |  |  |  | 1
0
11.11 | Testing and guarantees | [9 empty] | 0
0
11.12 | Allow for testing of all glass panels for water leakages on completion | Item | 1 | [7 empty] | 0
0
11.12.1 | Issue glass guarantee certificate for completion | Item | 1 | [7 empty] | 0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
| BILL NO. 12 | [9 empty] | 0
0
| PLASTERING | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
12 | SCREEDS | [9 empty] | 0
0
12.1 | 1:4 Cement cement screed on concrete slab: | [9 empty] | 0
0
12.1.1 | 30mm thick on floors and landings to waterproofing | m2 | 275 |  |  |  | 125 | 150 |  |  | 275
0
12.2 | Screed with compressive threnth of 25Mpa/6.7mm concrete with watertightness enhanced admixture finished with iron float: | [9 empty] | 0
0
12.2.1 | 50mm thick on floors and landings to receive polyurathane floors | m2 | 179 |  |  | 179 |  |  |  |  | 179
0
12.3 | INTERNAL PLASTER | [9 empty] | 0
0
12.3.1 | One coat 1:4 Cement plaster finished to a smooth surface steel trowel float on brickwork | [9 empty] | 0
0
12.3.1.1 | On walls | m2 | 504 |  |  |  | 361 | 143 |  |  | 504
0
12.3.1.2 | In narrow widths | m2 | 4 |  |  |  | 2 | 2 |  |  | 4
0
12.4 | One coat 1:4 Cement plaster finished wood float on brickwork | [9 empty] | 0
0
12.4.1 | Plaster soffits | m2 | 25 |  |  |  |  | 25 |  |  | 25
0
12.5 | EXTERNAL PLASTER | [9 empty] | 0
0
12.5.1 | One coat 1:4 Cement plaster finished to a smooth surface steel trowel float on brickwork | [9 empty] | 0
0
12.5.2 | On walls | m2 | 150 |  |  | 81.18 |  | 69 |  |  | 150.18
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
| BILL NO. 13 | [9 empty] | 0
0
| TILING | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
13 | WALL TILING | [9 empty] | 0
0
13.1 | 200 x 200 x 10mm glazed wall tiles fixed with adhesive to plaster (plaster elsewhere) and flush pointed with tinted waterproof jointing compound | [9 empty] | 0
0
13.1.1 | On walls | m² | 73 |  |  |  | 1 | 72 |  |  | 73
0
13.1.2 | On narrow widths not exceding 300mm width | m² | 1 | [7 empty] | 0
0
13.2 | FLOOR TILING | [9 empty] | 0
0
13.2.1 | 300 x 300 x 10mm thick ceramic floor tiles fixed with adhesive to screed (screed elsewhere) and flush pointed with tinted waterproof jointing compound | [9 empty] | 0
0
13.2.1.1 | On floors | m² | 30 |  |  |  |  | 30 |  |  | 30
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 14 | [9 empty] | 0
0
| PLUMBING AND DRAINAGE | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
14 | RAINWATER DISPOSAL | [9 empty] | 0
0
14.1 | Seamless aluminium pre-coated gutters and rainwater pipes complete with all fixing brackets: | [9 empty] | 0
0
14.1.1 | 200 x 150mm Rectangular section eaves gutter with 20mm wide overlapping joints sealed with and including "Compriband" or other approved bitumen sealing strip and rivetted at 20mm centres. | m | 82 |  |  |  | 37 | 45 |  |  | 82
0
14.1.2 | Extra over 100 x 125mm eaves gutter for stopped end. | No | 16 |  |  |  | 6 | 10 |  |  | 16
0
14.1.3 | Extra over 100 x 125mm eaves gutter for outlet for 100 x 76mm downpipe including galvanized wire balloon grating. | No | 22 |  |  |  | 12 | 10 |  |  | 22
0
14.1.4 | 100mm x 76mm Rainwater pipe with brackets fixed to brick wall or concrete. | m | 91 |  |  |  | 46 | 45 |  |  | 91
0
14.1.5 | Extra over 100 x 76mm rainwater pipe for shoe. | No | 22 |  |  |  | 12 | 10 |  |  | 22
0
14.1.6 | Extra over 100 x 76mm rainwater pipe for bend | No | 22 |  |  |  | 12 | 10 |  |  | 22
0
14.2 | Franke or equal approved: | [9 empty] | 0
0
14.2.1 | Franke grade 304 18/10 Quinline QLX611 double end bowl inset sink 1 500 x 500mm wide (code: 820000) | No | 1 |  |  |  | 1 |  |  |  | 1
0
14.3 | TRAPS, ETC.: | [9 empty] | 0
0
14.3.1 | Cobra Watertech or equal approved: | [9 empty] | 0
0
14.3.1.1 | 32mm sink trap combination including chrome plated grating | No | 1 |  |  | 1 |  |  |  |  | 1
0
14.2 | Cobra Watertech or equal approved: | [9 empty] | 0
0
14.2.1 | Star 15mm sink mixer with aerated swivel spout and 400mm long flexible inlets (296) | No | 1 |  |  | 1 |  |  |  |  | 1
0
15 | SANITARY PLUMBING: | [9 empty] | 0
0
15.1 | uPVC pipes: | [9 empty] | 0
0
15.1.2 | 50mm Pipes. | m | 15 |  |  | 15 |  |  |  |  | 15
0
15.2 | Extra over uPVC pipes for fittings: | [9 empty] | 0
0
15.2.1 | 50mm Access bend. | No | 4 |  |  | 4 |  |  |  |  | 4
0
15.2.2 | 50mm Junctions. | No | 4 |  |  | 4 |  |  |  |  | 4
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
15.3 | WATER SUPPLIES: | [9 empty] | 0
0
15.3.1 | Class O copper pipes: | [9 empty] | 0
0
15.3.2 | 15mm Pipes. | m | 10 |  |  | 10 |  |  |  |  | 10
0
15.3.3 | 22mm Pipes. | m | 6 |  |  | 6 |  |  |  |  | 6
0
15.4 | Extra over class O copper pipes for capillary fittings: | [9 empty] | 0
0
15.4.1 | 15mm Fittings. | No | 4 |  |  | 4 |  |  |  |  | 4
0
15.4.2 | 22mm Fittings. | No | 4 |  |  | 4 |  |  |  |  | 4
0
15.5 | Sundries: | [9 empty] | 0
0
15.5.1 | Testing water pipe system. | Sum | 1 |  |  | 1 |  |  |  |  | 1
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 15 | [9 empty] | 0
0
| GLAZING | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
15 | GLAZING TO STEEL WITH PUTTY | [9 empty] | 0
0
15.1 | 32mm high penetration resistance (HPR) clear laminated safety glass framed on 30mm x 6mm polyurethane space blocks with 45 x 45 x 6mm stainless steel angle anchored into concrete with and including applying SIKASIL or equal approved sealant around the frame | [9 empty] | 0
0
15.1.1 | Frame size 770 x 800mm high | No | 2 |  |  |  | 2 |  |  |  | 2
0
15.2 | Testing and guarantees | [9 empty] | 0
0
15.2.1 | Allow for testing of all glass panels for water leakages on completion | Item | 1 | [7 empty] | 0
0
15.2.2 | Issue glass guarantee certificate for completion | Item | 1 | [7 empty] | 0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
0
| BILL NO. 16 | [9 empty] | 0
0
| PAINTWORK | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
16 | PAINTWORK, ETC TO PREVIOUSLY PAINTED WORK | [9 empty] | 0
0
16.1 | ON FLOATED PLASTER | [9 empty] | 0
0
16.1.1 | Prepare, clean and apply one coat plaster primer and two coats approved quality matt acrylic paint applied as per manufacturers specification | [9 empty] | 0
0
16.1.1.1 | On internal plastered walls | m2 | 1820 | [7 empty] | 0
0
16.2 | Prepare, clean and apply one coat plaster primer and two coats approved quality matt acrylic paint applied as per manufacturers specification | [9 empty] | 0
0
16.2.1 | On plastered soffit | m2 | 25 | [7 empty] | 0
0
16.3 | Prepare, clean and apply one coat plaster primer and two coats approved quality matt acrylic paint applied as per manufacturers specification | [9 empty] | 0
0
16.3.1 | On external plastered walls | m2 | 1978 | [7 empty] | 0
16.4 | ON METAL | [9 empty] | 0
0
16.4.1 | Prepare, prime with a self-etching primer and apply one coat universal undercoat and one full coat high gloss enamel paint | [9 empty] | 0
0
16.4.1 | On steel gates | m2 | 46 | [7 empty] | 0
0
16.5 | PAINTWORK, ETC TO NEW WORK | [9 empty] | 0
0
16.5.1 | ON FLOATED PLASTER | [9 empty] | 0
0
16.5.1.1 | Prepare, clean and apply one coat plaster primer and two coats approved quality matt acrylic paint applied as per manufacturers specification | [9 empty] | 0
0
16.5.1.2 | On internal plastered walls | m2 | 504 | [7 empty] | 0
0
16.5.2 | Prepare, clean and apply one coat plaster primer and two coats approved quality matt acrylic paint applied as per manufacturers specification | [9 empty] | 0
0
16.5.2.1 | On external plastered walls | m2 | 150 | [7 empty] | 0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
0
16.6 | ON METAL | [9 empty] | 0
0
16.6.1 | Prepare, prime with a self-etching primer and apply one coat universal undercoat and one full coat high gloss enamel paint | [9 empty] | 0
0
16.6.1.1 | On door frames | m2 | 4 | [7 empty] | 0
0
16.6.1.2 | On gates, grilles, burglar screens, ballustrades, etc [both sides measured over the full flat area] | m2 | 150 | [7 empty] | 0
0
16.6.1.3 | On structural steel members | m2 | 472 | [7 empty] | 0
0
16.7 | Prepare, etc as specified and apply two coats of bitumen based paint inside the gutter: | [9 empty] | 0
0
16.7.1 | Inside eaves gutter. | m2 | 29 | [7 empty] | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0
0
| BILL NO. 17 | [9 empty] | 0
0
| EXTERNAL WORKS | [9 empty] | 0
0
| PREAMBLES | [9 empty] | 0
0
| For preambles see 'Model Preambles for Trades, 2008 Edition as published by Association of South African Quantity Surveyors, SANS Standards and PW371 Specification of Materials and Methods to be used as Published by National Department of Public Works & Infrastructure | [9 empty] | 0
0
17 | ROADWORK, PARKING AREAS AND PAVING | [9 empty] | 0
0
17.1 | Excavation in earth not exceeding 2m deep | [9 empty] | 0
0
17.1.1 | Open face excavation to form platform under parking areas, roads, etc and depositing excavated material over site including haulage not exceeding 1km from perimeter of excavations. | m³ | 108 |  |  |  |  | 108 |  |  | 108
0
17.2 | Extra over bulk excavation in earth for excavation in | [9 empty] | 0
0
17.2.1 | Soft rock. | m³ | 5 |  |  |  |  | 5 |  |  | 5
0
17.2.2 | Hard rock. | m³ | 2 |  |  |  |  | 2 |  |  | 2
0
17.3 | Extra over all excavations for carting away | [9 empty] | 0
0
17.3.1 | Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m³ | 108 |  |  |  |  | 108 |  |  | 108
0
17.4 | Keeping excavations free of water | [9 empty] | 0
0
17.4.1 | Keeping excavations free of water other than subterranean water. | Item | 1 |  |  |  |  | 1 |  |  | 1
0
17.5 | Selected earth filling obtained from stock piles on site, including haulage approximately 2m from perimeter of stock piles | [9 empty] | 0
0
17.5.1 | Spread over site under parking areas, roadways, etc compacted to 90% Mod AASHTO density. | m³ | 10 |  |  |  |  | 10 |  |  | 10
0
17.8 | Earth filling supplied by the contractor under parking areas, roadways, etc | [9 empty] | 0
0
17.8.1 | Subbase course of G5 material in 150mm layer compacted to 95% Mod AASHTO density | m³ | 108 |  |  |  |  | 98 |  |  | 98
0
17.9 | Stabilisation | [9 empty] | 0
0
17.9.1 | Sub-base material in accordance with SABS 1200 ME, stabilised to attain 3% OPC compacted to 95% Mod AASHTO density. | m³ | 26 |  |  |  |  | 26 |  |  | 26
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
17.10 | Compaction of surfaces | [9 empty] | 0
0
17.10.1 | Compaction of ground surfaces under pavings etc, including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density | m² | 108 |  |  |  |  | 180 |  |  | 180
0
17.11 | WEED KILLER | [9 empty] | 0
0
17.11.1 | Weed killer (active ingredients Metalaclor 102,8 g/l, Terbitilasien 248,6 g/l and atrazine 248,6 g/l) mixed in the proportion of 100 ml weed killer to 100 l water and applied at a rate of 10 l/m² | [9 empty] | 0
0
17.12.2 | Under paving, etc | m² | 180 |  |  |  |  | 180 |  |  | 180
0
17.13 | Additional tests required by the engineer | [9 empty] | 0
0
17.13.1 | In-situ dry density test in accordance with method A10(b) of TMH1. | No | 10 |  |  |  |  | 10 |  |  | 10
0
17.14.2 | Modified AASHTO Density test | No | 10 |  |  |  |  | 10 |  |  | 10
0
17.15 | 60mm Thick SA Class 25 precast concrete interlocking block paving of grey paving blocks in accordance with SANS 1058, laid to falls on and including 30mm thick sand layer with joints filled in with sand, compacted with a vibration compactor | [9 empty] | 0
0
17.15.1 | Paving to parking areas, etc to falls. | m² | 5 |  |  |  |  | 5 |  |  | 5
0
17.18 | 80mm Thick SA Class 25 precast concrete interlocking block paving of grey paving blocks in accordance with SANS 1058, laid to falls on and including 20mm thick sand layer with joints filled in with sand, compacted with a vibration compactor | [9 empty] | 0
0
17.18.1 | Paving to road works, etc to falls. | m² | 175 |  |  |  |  | 175 |  |  | 175
0
17.18.2 | Extra over for straight edge blocks. | m | 40 |  |  |  |  | 40 |  |  | 40
0
17.19 | Precast concrete finished smooth on exposed surfaces, including bedding, jointing and pointing | [9 empty] | 0
0
17.19.1 | 150 x 300mm High kerbs (SANS 927 fig 7) semi-mountable with 150 x 150 x 300mm unreinforced 15Mpa concrete haunching at back of each joint, including excavation, backfilling, etc. | m | 50 |  |  |  |  | 50 |  |  | 50
0
17.20 | THE FOLLOWING IN POOLS | [9 empty] | 0
0
17.20.1 | Screed with compressive threnth of 25Mpa/6.7mm concrete with watertightness enhanced admixture finished with iron float: | [9 empty] | 0
0
17.20.2 | 50mm thick in pools to receive pool linning | m2 | 1546 |  |  | 485 | 410 | 585 | 66 |  | 1546
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
17.21 | Pool surfaces | [9 empty] | 0
17.21.1 | Prepare and apply marbelite/purtop 1000 or equal approved | [9 empty] | 0
17.21.1.1 | On smooth screeded surfaces | m2 | 1546 |  |  | 485 | 410 | 585 | 66 |  | 1546
0
17.21.1.2 | Testing of leaks, commission and issue gurantee certificate | item | 1 |  |  | 1 |  |  |  |  | 1
0
18.1 | Fibre glass swimming pool | [9 empty] | 0
0
18.1.1 | Allow a sum of R15 000 (Fifteen thousand rands) for repairs of existing swimming pool (size 2 000 x 1 315 x 300mm deep) and leave in good order | item | 4 |  |  |  |  | 4 |  |  | 4
0
18.1.2 | Allow a sum of R45 000 (Forty five thousand rands) for for supply and installation of swimming pool with fibre glass finish (size 2 000 x 1 315 x 300mm deep) as per drawing number PJN ZA 2021/2022 SANBI NZG A 2000 R00 | item | 7 |  |  |  | 4 | 3 |  |  | 7
0
19.1 | Fibre cement artificial rock | [9 empty] | 0
0
19.1.1 | Allow for repairs to fibre cement housing unit size 5 000 x 5 000 x 2 000mm high extreme (Prime cost sum R60 000). | item | 1 |  |  | 1 |  |  |  |  | 1
0
19.1.2 | Supply and install fibre cement swimming pool island to manufacturer's specification (Prime cost sum R60 000 delivered excluding VAT) installed on floors. | item | 2 |  |  | 2 |  |  |  |  | 2
0
19.1.3 | Allow a sum of R400 000.00 (Four Hundred Thousand Rands) for supply and installations of fibre cement artificial rocks by specialist supplier. | sum | 1 | 400000 | 400000 |  |  |  |  | 1 | 1
0
19.1.4 | Allow a sum of R100 000.00 (One Hundred Thousand Rands) required for remedial works on existing fibre cement artificial rocks in the swimming pool. | sum | 1 | 100000 | 100000 |  |  |  |  | 1 | 1
0
20.1 | Grouted stone pitching | [9 empty] | 0
0
20.1.1 | Grouted stone pitching on concrete slab with and inlcuding joints in cement mortar | m2 | 107 | [5 empty] | 107 |  | 107
0
21.1 | Pebble flooring | [9 empty] | 0
0
21.1.2 | Grouted pebble flooring with and inlcuding joints in cement mortar | m2 | 44 |  |  |  |  | 39 |  |  | 39
0
21.2 | Sand bed | [9 empty] | 0
0
21.2.1 | 100mm thick sand bed spread and levelled | m2 | 40 |  |  |  |  | 40 |  |  | 40
0
21.2 | Stainless steel or equal approved sluice gate complete with pulley | [9 empty] | 0
0
21.2.1 | Sluice gate size 600 x 1200mm high complete with pulley including 3 500mm long steel rope fixed to steel pole. | No | 1 |  |  | 1 |  |  |  |  | 1
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
21.3 | Stormwater channel | [9 empty] | 0
0
21.3.1 | Clean down channel | [9 empty] | 0
0
21.3.1.1 | Clean down stormwater draiange including making good slopes, cracks, and leave in good working order | m | 45 |  |  |  |  | 45 |  |  | 45
0
21.4 | Vitaglass Trench Covers Mentis or equal approved grating | [9 empty] | 0
0
21.4.1 | 600mm wide grating complete with 50 x 50mm stainless steel angle iron including lugs bedded in 30Mpa concrete . | m | 45 |  |  |  |  | 45 |  |  | 45
0
21.5 | Water and Sewer Reticulation | [9 empty] | 0
0
21.5.1 | Allow for the sum of R200 000.00 (Two Hundred Thousand Rands) for provision of water and sewer reticulation as guided by the Civil Engineer. | item | 1 | 200000 | 200000 |  |  | 40 |  |  | 40
0
21.6 | FENCING | [9 empty] | 0
0
21.6.1 | Invisible or equal approved fencing | [9 empty] | 0
21.6.2 | The following to refer to drawing PJN ZA 2021/02022 SANBI NZG SE 4003 R00 | [9 empty] | 0
0
21.6.2.1 | Invisible or equal approved pressed high density anticlimbing and anti-cut pressed mesh panel fencing 3 000mm high, poweder coated charcoal, 85-45mm taper locking posts 3 000mm high including locking recess mechanism at 3 382mm centres with sealed end caps and 30 x 3mm x 250mm long angle section base anchors with posts bedded in 400 x 400 x 700mm high concrete bases including all excavations, etc all as per manufacturer's instructions. | m | 30 |  |  |  |  | 30 |  |  | 30
0
21.6.2.2 | 100mm high powder coated charcoal shark tooth type spike rail, bolted to 50mm wide mesh fencing flange bent along the top. | m | 30 |  |  |  |  | 30 |  |  | 30
0
21.6.2.3 | 200 x 200mm concrete sill including formwork to sides, etc. | m | 30 |  |  |  |  | 30 |  |  | 30
0
21.6.2.4 | Double gate size 3 000mm wide x 2 237mm high (overall) in double leaf to match fencing, complete with hingles, lock, etc (R44) | No | 1 |  |  |  |  | 1 |  |  | 1
21.6.2.5 | Gate size 3 366mm wide x 2 237mm high (overall) in single leaf to match fencing, complete with hingles, lock, etc (R66) | No | 1 |  |  |  |  | 1 |  |  | 1
21.6.2.6 | Sliding gate size 5 032mm long x 2 200mm high (overall) in single leaf to match fencing, complete with rail, hingles, lock, etc (R66) | No | 1 |  |  |  |  | 1 |  |  | 1
21.6.2.7 | Double gate size 7 680mm wide x 2 237mm high (overall) in double leaf to match fencing, complete with hingles, lock, etc (R61) | No | 1 |  |  |  |  | 1 |  |  | 1
0
21.7 | Electric Fencing | [9 empty] | 0
0
21.7.1 | Electric fence size 1 000mm high supplied and installed complete with electrical components. | m | 58 |  |  | 58 |  |  |  |  | 58
0
21.7.2 | Testing and commissioning of the electrical fencing | item | 1 |  |  | 1 |  |  |  |  | 1
0
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
21.8 | Diamond mesh fence | [9 empty] | 0
0
21.8.1 | Welded mesh | [9 empty] | 0
0
21.8.1.1 | 1800mm high welded mesh fencing formed of 2.5 x 50mm galvanized welded mesh in long lengths, with three strands of 1.6mm galvanized steel wire at 150mm centres to and including four strings of 2.5mm galvanized steel binding wire stringed through holes and secured to straining bolts or posts ,10mm Diameter galvanized straining eye bolt 300mm long with nut and washer sawn off and bent after straining, 3150mm high, 50mm diameter x 2.8mm round mild steel intermediates posts with cover cap, corner post formed of 100mm diameter x 3mm thick x 3150mm overall length steel post and 50mm Diameter x 2.6mm steel stays. | m | 60 |  |  | 100 |  |  |  |  | 100
0
21.9 | Steel Palisade Fencing | [9 empty] | 0
0
21.9.1 | 1800mm high steel palisade fencing formed of 1800 x 3000mm panels; 40 x 40 x 2mm welded angle iron, 300mm from lop of paling and 300mm from bottom paling; 21 paling "devil fork" per panel; 30 x 30 x 2mm steel angle iron paling 1800mm high; corner post formed of 30 x 30 x 2mm thick steel square tubing 2400mm overall length (600mm planted into concrete footing to Engineer's specification). | m | 94 |  |  |  | 10 | 8 | 46 | 30 | 94
21.9.2 | Double gate size 2 000mm x 2 200mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; poles fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to Engineer's specification). | No | 1 |  |  |  | 2 | 2 | 2 | 1 | 7
0
21.9.3 | Double gate size 2 500mm x 1 800mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; poles fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to Engineer's specification). | No | 1 | [6 empty] | 1 | 1
21.9.4 | Double gate size 2 500mm x 2 200mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; poles fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to Engineer's specification). | No | 2 |  |  |  | 2 | 2 | 2 | 1 | 7
0
| Total Carried Forward | [9 empty] | 0
0
0
| Total Brought Forward | [9 empty] | 0
21.9.5 | Double gate size 3 000mm x 2 200mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; poles fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to engineer's specification). | No | 2 |  |  |  | 2 | 2 | 2 | 1 | 7
21.9.6 | Double gate size 4 000mm x 1 800mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; poles fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to engineer's specification). | No | 1 | [6 empty] | 1 | 1
21.9.7 | Double gate size 4 000mm x 2 200mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; poles fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to engineer's specification). | No | 1 |  |  |  | 2 | 2 | 2 | 1 | 7
21.9.8 | Sliding gate size 5 032mm x 1 800mm high with equal leaves formed from 40 x 40 x 2mm welded angle iron paling; 76 x 38 x 2mm rectangular tubing frame; two 80mm roller coaster wheels fitted with ball bearing; track formed of 12mm steel rod welded lo 40 x 40 x 5mm angel iron fixed into a 300 x 400 x 500mm concrete base; gate posts formed of 75 x 75 x 2mm steel square tubing 2 400mm overall length planted into 450 x 450 x 600mm concrete base (all concrete work to engineer's specification). | No | 2 | [5 empty] | 1 | 1 | 2
0
21.9.9 | Painting | [9 empty] | 0
0
21.9.10 | Undercoat and minimum 2 coats gloss enamel | [9 empty] | 0
0
21.9.11 | On palisade fence (measured over the full flat area of both sides according specification) | m² | 230 |  |  | 0 | 36 | 28.8 | 165.6 |  | 230.4
0
0
0
0
0
0
0
0
0
0
| Total Carried To Building Summary | [9 empty] | 0
0

## Electr summ
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
ELECTRICAL INSTALLATIONS
ITEM | DESCRIPTION |  | UNIT | QTY | AMOUNT
SUMMARY
6.1 | BILL 1: RETICULATION AND DISTRIBUTION BOARDS |  | Sum | 1
6.2 | BILL 2: STORMY BAY - ELECTRICAL INSTALLATIONS |  | Sum | 1
6.3 | BILL 3: OTTA POOLS - ELECTRICAL INSTALLATIONS |  | Sum | 1
6.4 | BILL 4 - BUDGETARY ITEMS |  | Sum | 1
6.5 | BILL 5: LABELLING, DOCUMENTATION AND GUARANTEES |  | Sum | 1
SUB-TOTAL A (Excluding VAT)
Add CONTIGENCY @ 5%
SUB-TOTAL B (Including contingency and excluding VAT)
Add P`s & G`s @ 10%
TOTAL AMOUNT CARRIED TO FINAL SUMMARY (Excluding VAT)

## Electrical Inst
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
THE DESIGN, UPGRADE AND RECONSTRUCTION OF THE AQUARIUM AND ASSOCIATED TANKS, REPTILE PARK AND OUTDOOR AQUATIC POOLS
ELECTRICAL INSTALLATIONS
Item | Description | Unit | Quantity | Rate | Amount
BILL 1: RETICULATION AND DISTRIBUTION BOARDS
Distribution Boards
Distribution boards complete with all MCBs, switchgear, accessories, sheet metal frames, sub-frames, busbars, terminals, wiring, conduit terminations, labelling, fixtures and fittings as specified, with all equipment fitted and equipped in factory all strictly as per schematic diagram.
(Please note that the distribution board's shop drawing should be submitted to the Engineer for approval prior to manufacture).
DB-P
1.1 | Supply | No. | 1
1.2 | Install | No. | 1
DB-O1
1.3 | Supply | No. | 1
1.4 | Install | No. | 1
DB-O2
1.5 | Supply | No. | 1
1.6 | Install | No. | 1
DB (200 x 200) surface outdoor empty DB box
1.7 | Supply | No. | 1
1.8 | Install | No. | 1
63A CB, 5KA, Three phase
1.9 | Supply | No. | 1
1,10 | Install | No. | 1
20A CB, 5KA, Single phase
1.11 | Supply | No. | 4
1.12 | Install | No. | 4
15A CB, 5KA, Single phase
1.13 | Supply | No. | 5
1.14 | Install | No. | 5
130A CB, 5KA, Three phase
1.15 | Supply | No. | 1
1.16 | Install | No. | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Low voltage cables
600/1 000V PVC/PVC/SWA/PVC multi-core copper cable installed in sleeves (sleeves measured elsewhere)
35mm² 4 Core
1.21 | Supply | m | 50
1.22 | Install | m | 50
25mm² 4 Core
1.23 | Supply | m | 50
1.24 | Install | m | 50
4mm² 4 Core
1.25 | Supply | m | 400
1.25 | Install | m | 400
Low voltage cable terminations
Make off and terminate the LV cable, complete with glands and shrouds including connection of cable to equipment terminals
35mm² 4 Core
1.27 | Supply | No. | 4
1.28 | Install | No. | 4
25mm² 4 Core
1.29 | Supply | No. | 4
1,30 | Install | No. | 4
4mm² 4 Core
1.31 | Supply | No. | 8
1.32 | Install | No. | 8
Earthing Conductors
Bare stranded copper earth conductor installed in sleeves (sleeves measured elsewhere)
25mm²
1.33 | Supply | m | 100
1.34 | Install | m | 100
4mm²
1.35 | Supply | m | 400
1.36 | Install | m | 400
Circuit breakers
Circuit breaker must comply with the latest SANS regulations
63A, 5kA, 3ph, curve 1 or curve 3 breaker
1.37 | Supply | No | 2
1.38 | Install | No | 2
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Earthing conductor terminations
Make off and terminate earth conductor, including lugs and connections
25mm²
1.39 | Supply | No. | 4
1.4 | Install | No. | 4
4mm²
1.41 | Supply | No. | 2
1.42 | Install | No. | 2
Earth Rods
SABS approved copper earth rod
1500mm long 16mm diameter
1.43 | Supply | No. | 3
1.44 | Install | No. | 3
Sleeves
Kabelflex high density (or equal and approved) polyethylene (HDPE) sleeve with double wall construction, corrugated outer wall and smooth inner wall finish inclusive of couplers, bends, etc
110mm diameter
1.45 | Supply | m
1.46 | Install | m
50mm diameter
1.47 | Supply | m
1.48 | Install | m
32mm diameter bosal conduit
1.49 | Supply | m | 20
1.5 | Install | m | 20
Draw wires
Draw wire drawn into sleeves and conduits including approximately 300mm slack in boxes, distribution board, etc.
1.6mm² Galvanised steel draw wire
1.51 | Supply | m | 100
1.52 | Install | m | 100
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Excavations
All excavations, back filling and compaction must be done manually using local labour
Excavate for cable and sleeve trench including temporary support of sides, keeping excavations dry, backfilling and compacting to the Engineer's specification
1.47 | Pickable Soil | m³ | 162
1.48 | For Soft Rock | m³ | 16.2
1.49 | For Hard Rock | m³ | 16.2
1.5 | Bedding under and filling around cables comprising sifted sand | m³ | 16.2
Cable Tape and Markers
PVC warning marking tape
1.51 | Supply | m | 450
1.52 | Install | m | 230
Concrete route markers
1.53 | Supply | No. | 0
1.54 | Install | No. | 0
Galvanised steel conduits
Galvanised steel conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
1.55 | Supply | m | 300
1.56 | Install | m | 300
25mm
1.57 | Supply | m | 200
1.58 | Install | m | 200
32mm
1.59 | Supply | m | 4
1.6 | Install | m | 4
Testing and commissioning
1.61 | Testing and commissioning of the works covered within this bill. | Item | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BILL 2: OTTA POOLS - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
2.1 | Supply | m | 50
2.2 | Install | m | 50
25mm
2.3 | Supply | m | 50
2.4 | Install | m | 50
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
2.5 | Supply | No. | 85
2.6 | Install | No. | 85
25mm
2.7 | Supply | No. | 50
2.8 | Install | No. | 50
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
2.9 | Supply | No. | 2
2.1 | Install | No. | 2
100 x 100 x 50mm
2.11 | Supply | No. | 2
2.12 | Install | No. | 2
60mm round, 25mm deep
2.13 | Supply | No. | 12
2.14 | Install | No. | 12
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Galvanised steel conduits
Galvanised steel conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
2.15 | Supply | m | 100
2.16 | Install | m | 100
25mm
2.17 | Supply | m | 100
2.18 | Install | m | 100
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
2.19 | Supply | m | 200
2.2 | Install | m | 200
4.0 mm²
2.21 | Supply | m | 200
2.22 | Install | m | 200
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
2.23 | Supply | m | 200
2.24 | Install | m | 200
4.0 mm²
2.25 | Supply | m | 200
2.26 | Install | m | 200
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
2.27 | Supply | No. | 2
2.28 | Install | No. | 2
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted, weatherproof
2.29 | Supply | No. | 5
2.3 | Install | No. | 5
Isolators
Isolator complete with box, cover plate and accessories.
20A DP Single phase isolator, flush mounted
2.31 | Supply | No. | 0 |  | Rate Only
2.32 | Install | No. | 0 |  | Rate Only
20A DP Single phase isolator, surface mounted
2.33 | Supply | No. | 3
2.34 | Install | No. | 3
63A DP Single phase isolator, surface mounted, weatherproof, IP56
2.35 | Supply | No. | 2
2.36 | Install | No. | 2
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
2.37 | Supply | No. | 5
2.38 | Install | No. | 5
16A, 230V, 1 Lever 2 Way
2.39 | Supply | No. | 0 |  | Rate Only
2.4 | Install | No. | 0 |  | Rate Only
16A, 230V, 2 Lever 1 Way
2.41 | Supply | No. | 0 |  | Rate Only
2.42 | Install | No. | 0 |  | Rate Only
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
2.43 | Supply | No. | 2
2.45 | Install | No. | 2
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type B - 20W downlighter. Similar Regent to Luxion round pro 160
2.46 | Supply | No. | 0 |  | Rate Only
2.47 | Install | No. | 0 |  | Rate Only
Type H - 24W red light output. Similar to Genesis One vegaspot light
2.48 | Supply | No. | 3
2.49 | Install | No. | 3
Type A5 - 20W LED vapour proof. Equal or similar to Genesis One Tri-proof luminaries
2.5 | Supply | No. | 20
2.51 | Install | No. | 20
Type F3 - 100W flood light. Similar to Lumina Trinion C/W built in photo cell
2.52 | Supply | No. | 2
2.53 | Install | No. | 2
Type F4 - 28W flood light. Similar to Lumina Trinion C/W built in photo cell
2.55 | Supply | No. | 2
2.56 | Install | No. | 2
Electric fence
2.57 | 120m of 1.2m Aluminium braided electric fence c/w energizer earthing and mounting brackets. The price must include all accessories needed for full installation.
2.58 | Supply | m | 120
2.59 | Install | m | 120
Wiring channel
2.6 | Galvanized P8000 wiring channel c/w all mounting accessories to be mounted on wall or roof structure
2.61 | Supply | No. | 10
2.62 | Install | No. | 10
Testing and commissioning
2.63 | Testing and commissioning of the works covered within this bill. | Item | 1
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BILL 3: STORMY BAY - ELECTRICAL INSTALLATIONS
PVC conduits
PVC conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
3.1 | Supply | m | 50
3.2 | Install | m | 50
25mm
3.3 | Supply | m | 50
3.4 | Install | m | 50
PVC round boxes
Surface or flush mounted 60mm deep PVC conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary.
20mm
3.5 | Supply | No. | 30
3.6 | Install | No. | 30
25mm
3.7 | Supply | No. | 10
3.8 | Install | No. | 10
Galvanised boxes
Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates.
100 x 50 x 50mm
3.9 | Supply | No. | 2
3.1 | Install | No. | 2
100 x 100 x 50mm
3.11 | Supply | No. | 2
3.12 | Install | No. | 2
60mm round, 25mm deep
3.13 | Supply | No. | 12
3.14 | Install | No. | 12
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Galvanised steel conduits
Galvanised steel conduit including bending, short lengths, draw boxes, cutting,bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void.
20mm
3.15 | Supply | m | 300
3.16 | Install | m | 300
25mm
3.17 | Supply | m | 400
3.18 | Install | m | 400
PVC insulated conductors
600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
3.19 | Supply | m | 400
3.2 | Install | m | 400
4.0 mm²
3.21 | Supply | m | 200
3.22 | Install | m | 200
Insulated earth conductors
Earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc.
2.5 mm²
3.23 | Supply | m | 300
3.24 | Install | m | 300
4.0 mm²
3.25 | Supply | m | 200
3.26 | Install | m | 200
Socket outlets
Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes, drilling, etc
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted
3.27 | Supply | No. | 6
3.28 | Install | No. | 6
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
16A, 230V, 3-pin single switched socket outlet, 2-pin slimline switched socket outlet, flush wall mounted, weatherproof
3.29 | Supply | No. | 5
3.3 | Install | No. | 5
Isolators
Isolator complete with box, cover plate and accessories.
20A DP Single phase isolator, flush mounted
3.31 | Supply | No. | 0 |  | Rate Only
3.32 | Install | No. | 0 |  | Rate Only
20A DP Single phase isolator, surface mounted
3.33 | Supply | No. | 3
3.34 | Install | No. | 3
63A DP Single phase isolator, surface mounted, weatherproof, IP56
3.35 | Supply | No. | 2
3.36 | Install | No. | 2
Light switches
Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals.
16A, 230V, 1 Lever 1 Way
3.37 | Supply | No. | 3
3.38 | Install | No. | 3
16A, 230V, 1 Lever 2 Way
3.39 | Supply | No. | 0 |  | Rate Only
3.4 | Install | No. | 0 |  | Rate Only
16A, 230V, 2 Lever 1 Way
3.41 | Supply | No. | 0 |  | Rate Only
3.42 | Install | No. | 0 |  | Rate Only
Photocell
Photocell installed in a suitably sized rectangular bulkhead luminaire housing with clear UV stabilised high impact acrylic lens and labelling as specified
16A, 230V, Photocell
3.43 | Supply | No. | 2
3.45 | Install | No. | 2
CARRIED FORWARD
Item | Description | Unit | Quantity | Rate | Amount
BROUGHT FORWARD
Light fittings
SABS approved light fittings as per the specification, complete with lamps,machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings.
Please note that all ceiling mounted light fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted.
Type B - 20W downlighter. Similar Regent to Luxion round pro 160
3.46 | Supply | No. | 30 |  | Rate Only
3.47 | Install | No. | 30 |  | Rate Only
Type H - 24W red light output. Similar to Genesis One vegaspot light 1
3.48 | Supply | No. | 1
3.49 | Install | No. | 1
Type A5 - 20W LED vapour proof. Equal or similar to Genesis One Tri-proof luminaries
3.5 | Supply | No. | 7
3.51 | Install | No. | 7
Type A4 - 20W linear LED. Equal or similar to Regent lighting NASA
3.5 | Supply | No. | 7
3.51 | Install | No. | 7
Type F3 - 100W flood light. Similar to Lumina Trinion C/W built in photo cell
3.52 | Supply | No. | 0
3.53 | Install | No. | 0
Type F4 - 28W flood light. Similar to Lumina Trinion C/W built in photo cell
3.55 | Supply | No. | 13
3.56 | Install | No. | 13
Wiring channel
3.6 | Galvanized P8000 wiring channel c/w all mounting accessories to be mounted on wall or roof structure | Item
3.61 | Supply | No. | 10
3.62 | Install | No. | 10
Testing and commissioning
3.63 | Testing and commissioning of the works covered within this bill. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL No. 4 - BUDGETARY ITEMS
Earthing and Lightning Protection
4.1 | Allowance for the sum of R35 000.00 (Thirty-Five Thousand Rands) for Earthing and Lightning Protection system to be done by a specialist as may be required. | Sum | 1 | 35000 | 35000
Public address
4.2 | Allowance for the sum R60 000.00 (Sixty Thousand Rands) public adress system to be done by a specialist as may be required. | Sum | 1 | 60000 | 60000
Public address
4.2 | Allowance for the sum R180 000.00 (One-Eighty Thousand Rands) for 63kVA generator installation. | Sum | 1 | 180000 | 180000
TOTAL CARRIED FORWARD TO SUMMARY PAGE
Item | Description | Unit | Quantity | Rate | Amount
BILL No. 5: LABELLING, DOCUMENTATION AND GUARANTEES
Labelling
5.1 | Engraved labels on each switched socket outlet and light switch face plate, glued and screwed. | Item | 1
5.2 | Cable marking with Gravoplast at either end below termination shroud | Item | 1
Documentation
5.3 | Provision of the As-built drawings for the works covered within this bill showing all cable routes, conduit routes, etc | Item | 1
5.4 | Provision of the Operation and Maintenance manuals for the works covered within this bill including conducting User's training | Item | 1
5.5 | Provision of the Certificates of Compliance upon completion for the works covered within this bill. | Item | 1
Guarantee
5.6 | 12 month equipment and installation guarantee on the works covered within this bill.The guarantee period commences on the day of successful handing over of the building to the Client. | Item | 1
TOTAL CARRIED FORWARD TO SUMMARY PAGE

## mech summ
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
MECHANICAL INSTALLATIONS
ITEM | DESCRIPTION | UNIT | AMOUNT
SUMMARY
1 | Otter Pools | Item | 0
2 | Seal Pool | Item | 0
3 | Penguin Pool | Item | 0
4 | Operating & Maintenance Manuals and AS BUILT drawings | Item | 20000
Sub-Total
5 | P & G Items for Mechanical Subcontract | Item | Included | 200000
6 | Contigencies | Item | Included | 250000
7 | Total for Mechanical Services Sub- Contract | Item | 0
DAY WORKS AND ADDITIONAL MATERIAL
Provisional sum above to be expended as and when required upon instructions from the engineer and against which the contractor shall have no claim except where such instructions are passed and deducted in whole or in part if not required. The rates for items below shall be used
Labour
The rates for labour in dayworks are to be applied to the hours worked and are to include overheads, profits, etc.
Normal Time
Technician
Apprentice
Semi-skilled
Labourer
Sundays and Public Holidays
Technician
Apprentice
Semi-skilled
Labourer
Transport
The following nett rates for transport are to be applied and they are include for the provision of the vehicle fuel, driver waiting and travelling time.
Passengers vehicle in dayworks.
LDV in dayworks.
5 ton truck in dayworks
| TOTAL MECHANICAL TENDER SUM CARRIED TO MAIN CONTRACT SUMMARY |  | 0

## Bill 1- Otter Pools
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
MECHANICAL INSTALLATIONS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | OTTER POOLS MECHANICAL SYSTEMS
Design, manufacture, works testing, supply and delivery to site, moving into position, erection, connecting up, site testing, witness testing, proving to the inspectors, demonstrating to the Employer and maintenance of the complete installation as outlined in the specification and on the drawings.
1.1 | New circulation pump as Howden Nomaflo 80-250, 18kW or approved equal and new pool water strainer with 80mm dia. connection | No. | 1
1.2 | Refurbish the existing circulation pump as Howden Nomaflo 80-250,18kW and existing strainer | No. | 1
mPVC pipe to SANS 966-2 including pipe fittings as necessary to make a complete installation
1.3 | 80mm | m | 80
1.4 | 50mm | m | 25
1.5 | 32mm | m | 15
Potable water pipes including pipe fittings as necessary to make a complete installation
1.6 | 20mm Class 9 HDPE pipe | m | 30
1.7 | 15mm Class O copper to SANS 460 | m | 6
Valves
1.8 | 32mm uPVC valve | No. | 4
1.9 | 50mm uPVC valve | No. | 4
1.10 | 80mm butterfly flanged steel valves | No. | 4
1.11 | 20mm brass ball valve | No. | 2
Pool overflow water inlet with leaf catchers
1.12 | 200mm dia with 80 NB connection | No. | 2
1.13 | 100mm dia with 50 NB connection | No. | 2
Pool water return inlet with strainer
1.14 | 200mm dia with 80 NB connection | No. | 1
1.15 | 100mm dia with 50 NB connection | No. | 2
Filter banks
1.16 | Refurbish Existing set of 4 filters | No. | 1
1.17 | New set of 4 filters complete with connections and fittings | No. | 1
Drainage Sump
1.18 | 300 x 300 cast iron stormwater sump grate | No. | 1
1.19 | 110 UG PVC to SANS 967 storm water drainage pipe | m | 10
Testing & Maintenance
1.20 | Alow for testing and commissioning to the satisfaction of the engineer | Item | 1
1.21 | Allow for maintenance during defects liability period in terms of the contract | Item | 1
| Total carried to Summary Page |  |  |  | 0

## Bill 2-Seal Pool
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
MECHANICAL INSTALLATIONS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
2 | SEAL POOL
Design, manufacture, works testing, supply and delivery to site, moving into position, erection, connecting up, site testing, witness testing, proving to the inspectors, demonstrating to the Employer and maintenance of the complete installation as per conditions of contract and the specification and on drawings.
mPVC pipe to SANS 966-2 including pipe fittings as necessary to make a complete installation
2.1 | 250mm | m | 30
2.2 | 160mm | m | 10
Fittings
2.3 | 250mm butterfly valve | No. | 1
2.4 | Pool water filter with 250mm inlet | No. | 1
2.5 | 600mm dia drain fittings with strainer grate and vortex inhibitor | No. | 4
2.6 | Allow for 250 mm dia pipe connection to pumps suction header | Item | 1
2.7 | Allow for 100mm wide x 4000mm long overflow grate with leaf strainer over trench and connection to existing pipe | Item | 1
2.8 | 300 x 300 cast iron stormwater sump grating | No. | 1
2.9 | 110 UG PVC to SANS 967 storm water drainage pipe | m | 20
2.10 | Allowance for remedial work on clarifiers | Item | 1
Testing and Commissioning
2.11 | Testing and commissioning to the satisfaction of the engineer | Item | 1
2.12 | Allow for maintenance during defects liability period in terms of the contract | Item | 1
Total carried to Summary Page

## Bill 3-Penguin Pool
THE NATIONAL ZOOLOGICAL GARDENS OF SOUTH AFRICA IN PRETORIA
MECHANICAL INSTALLATIONS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3 | PENGUIN POOL
Design, manufacture, works testing, supply and delivery to site, moving into position, erection, connecting up, site testing, witness testing, proving to the inspectors, demonstrating to the Employer and maintenance of the complete installation as outlined in the specification and on the drawings.
3.1 | Wall mounted extract propeller fans duty 1.5m³/s at 250Pa to be complete with controller and external weather louvre | No. | 2
3.2 | 1500 x 900 anodized aluminium louvres as TROX AWK or equal | No. | 2
3.3 | 300mm dia overflow pool water return fitting with strainer | No. | 1
3.4 | 100mm dia Class 4 HDPE Pipe | m | 10
3.5 | Allow for the decommissioning of the cooling system and recommissioning of the water circulation system with cooling system decommissioned | Item | 1
Testing & Commissioning
3.6 | Testing and commissioning to the satisfaction of the engineer | Item | 1
3.7 | Allow for maintenance during defect liability period in terms of the contract | Item | 1
Total carried to Summary Page